**Read before use (supplementary comment to the user manual)**

**1**. When the display of computer screen is < 150%, drag the boundary of Spa-Q to make the control panel appear.

**2**. If the “Save” did not work properly, modify the date format in Spa-Q initial excel from mm**/**dd**/**yyyy to mm***-***dd**-**yyyy.

**3**. “***Annotation***” and “***Detail Border***” represent a two-step ROI creation and refinement: Annotation allows to draw multiple ROIs on the image while Detail Border allows to define the outline of each ROI.

**4.** *A copy & paste* for MAC users that not familiar with running commands (see the manual for how to initiate the command window in MAC)

**Spa-R**: sh run\_Spa\_R.sh /Applications/MATLAB/MATLAB\_Runtime/v901/

**Spa-Q:** sh run\_Spa\_Q.sh /Applications/MATLAB/MATLAB\_Runtime/v901/